## Daily Gen
Hourly Generation & Demand
Date: | 2015-08-04
Time | Generation | Demand | Loadshed | Remarks
Hour | MW | MW | MW
1:00 | 6458 | 6458 | 0
2:00 | 6351 | 6351 | 0
3:00 | 6134 | 6134 | 0
4:00 | 6080 | 6080 | 0
5:00 | 6066 | 6066 | 0
6:00 | 5558 | 5558 | 0
7:00 | 5269 | 5269 | 0
8:00 | 5527 | 5527 | 0
9:00 | 6037 | 6037 | 0
10:00 | 6241 | 6241 | 0
11:00 | 6270 | 6270 | 0
12:00 | 6409 | 6409 | 0 | Day peak
13:00 | 6387 | 6387 | 0
14:00 | 6375 | 6375 | 0
15:00 | 6500 | 6500 | 0
16:00 | 6635 | 6635 | 0
17:00 | 6335 | 6335 | 0
18:00 | 6095 | 6095 | 0
18:30 | 6335 | 6335 | 0
19:00 | 7312 | 7312 | 0
19:30 | 7739 | 7739 | 0
20:00 | 7792 | 7792 | 0 | Evening peak
21:00 | 7712 | 7712 | 0
22:00 | 7609 | 7609 | 0
23:00 | 7311 | 7311 | 0
24:00 | 7268 | 7268 | 0

## forecast
[7 empty] | POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-07
SUMMARY OF DAILY ELECTRICITY GENERATION
|  | Month : |  | 2015-08-05 |  |  | Day : | Wednesday |  |  |  | Date : | 2015-08-05
| Probable Maximum Generation : |  |  |  | (a) At Day Peak Hour : |  | 6196 | MW |  | (b) At Evening Peak Hour : |  |  | 8043 | MW
| Water Level of Kaptai Lake at 06:00 AM (ft) |  |  |  | (a) Yesterday : |  | 106.48 |  |  | (b) Today: | 106.46 | (c) Rule Curve: |  | 90.28
Sl. | Name of the Power Station |  | Fuel | Producer | Installed Capacity |  |  | Actual Generation |  | Available Geneneration |  | Ev. Peak Gen.Shortage |  | Plants under |  | Probable
[7 empty] | Present | On | 2015-08-04 | On | 2015-08-05 | for Fuel | for Plants S/D | Shut down (Date) / |  | Start up
[7 empty] | Capacity | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | or M/C prob. | Remarks |  | Date
[6 empty] | MW | MW | MW | MW | MW | MW | MW | MW
1a | Ghorasal ST: Unit-1, 2 |  | Gas | PDB | 2*55 | 110 | 85 | 82 | 82 | 82 | 82
1b | Ghorasal ST: Unit-3 |  | Gas | PDB | 1*210 | 210 | 170 | 175 | 175 | 180 | 180
1c | Ghorasal ST: Unit-4 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 |  | 180 | 2015-05-01 |  | Unknown
1d | Ghorasal ST: Unit-5 |  | Gas | PDB | 1*210 | 210 | 190 | 190 | 190 | 190 | 190
1e | Ghorasal ST: Unit-6 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | #6 (18/07/2010) |  | Long term maint.
2 | Ghorashal 100MW(Aggreko) |  | Gas | QRPP | 128*0.85 | 100 | 100 | 97 | 100 | 98 | 100
3 | Ghorashal 45MW (Aggreko) |  | Gas | QRPP | 58*0.85 | 45 | 45 | 39 | 43 | 42 | 45
4 | Ghorashal 78.5MW (MAX) |  | Gas | QRPP | 4*21.5 | 78 | 78 | 0 | 0 | 0 | 0 |  |  | Contract date expired 26/05/2014
5 | Ghorashal (Regent) |  | Gas | IPP | 34*3.35 | 108 | 108 | 48 | 55 | 52 | 55 |  | 53 | Machine problem
6 | Haripur GT: Unit-1, 2, 3 |  | Gas | PDB | 3*32 | 96 | 60 | 20 | 20 | 20 | 20 |  | 40 | #3(24/5/15)#1(17/7/15) |  | Unknown
7 | Haripur 412 MW CCPP |  | Gas | EGCB | 1*273+1*139 | 412 | 412 | 0 | 0 | 0 | 0 |  | 412 | 25/5/15 |  | Unknown
8 | Haripur NEPC (HFO) |  | HFO | IPP | 8*15 | 110 | 110 | 55 | 110 | 0 | 110
9 | Haripur Power CCPP |  | Gas | IPP | 1*235+1*125 | 360 | 360 | 343 | 347 | 345 | 350
10 | Meghnaghat CCPP |  | Gas | IPP | 2*150+1*150 | 450 | 450 | 141 | 170 | 281 | 280 |  | 280 | ST Under maint
11 | Meghnaghat (IEL) |  | HFO | RPP | 12*8.9 | 100 | 100 | 86 | 86 | 28 | 86 |  | 14 | Engine problem
12 | Meghnaghat CCPP(Summit) |  | HSD | IPP | 2*110+1*110 | 305 | 305 | 0 | 0 | 0 | 145
13 | Madanganj (Summit) |  | HFO | QRPP | 6*17 | 102 | 100 | 96 | 99 | 97 | 100
14 | Keraniganj (Powerpac) |  | HFO | RPP | 8*13.45 | 100 | 100 | 101 | 101 | 50 | 100
15 | Narshingdi (Doreen) |  | Gas | SIPP,REB | 8*2.90 | 22 | 22 | 14 | 14 | 16 | 18 |  | 8 | Machine problem
16a | Siddhirgonj ST |  | Gas | PDB | 1*210 | 210 | 150 | 0 | 0 | 0 | 0 |  | 150 | 30/07/15 |  | Unknown
16b | Siddhirgonj GT: Unit-1& 2 |  | Gas | EGCB | 2*105 | 210 | 210 | 98 | 180 | 204 | 210
17 | Siddhirganj (Desh) |  | HSD | QRPP | 96*1.2 | 96 | 98 | 0 | 82 | 0 | 85
18 | Siddhirganj (Dutch Bangla) |  | HFO | RPP | 12*8.9 | 100 | 100 | 91 | 91 | 50 | 93 |  | 7 | Engine problem
19 | Pagla (DPA ) |  | HSD | QRPP | 100*0.5 | 50 | 50 | 0 | 52 | 0 | 50
20 | Gagnagar (Orion) |  | HFO | IPP | 12*8.924 | 102 | 102 | 77 | 94 | 54 | 94
21 | Katpotti 51 MW |  | HFO | IPP | 7*7.9 | 51 | 51 | 36 | 52 | 0 | 51
22 | Kodda Peaking |  | Gas | BPDB-RPCL |  |  |  | 40 | 0 | 0 | 0 |  |  | On test
23 | Summit Power, Dhaka |  | Gas | SIPP,REB | 6*3.67+2*6.97+14*8.73 | 146 | 146 | 98 | 107 | 105 | 110 |  | 46 | Machine problem
24 | Gazipur (RPCL) |  | HFO | IPP | 6*8.9 | 52 | 52 | 25 | 33 | 33 | 34 |  | 10 | Engine problem
25 | Tongi GT |  | Gas | PDB | 1* 105 | 105 | 105 | 0 | 0 | 50 | 0 | 55 |  | Gas shortage
| Dhaka Area Total |  |  |  |  | 4460 | 4229 | 1952 | 2283 | 1977 | 2588 | 55 | 1390
26a | Chittagong ST: Unit-1 |  | Gas | PDB | 1*210 | 210 | 180 | 150 | 150 | 150 | 150 | 30
26b | Chittagong ST: Unit-2 |  | Gas | PDB | 1*210 | 210 | 180 | 120 | 120 | 120 | 120 | 60
27 | Raozan 25 MW (RPCL) |  | HFO | IPP | 3*8.9 | 25 | 25 | 26 | 26 | 8 | 25
28 | Patenga 50MW (Barakatullah) |  | HFO | IPP | 8*6.984 | 50 | 50 | 34 | 46 | 45 | 46
29 | Kaptai Hydro: Unit-1,2,3,4, 5 |  | Hydro | PDB | 2*40, 3*50 | 230 | 230 | 235 | 233 | 236 | 230
30a | Sikalbaha ST |  | Gas | PDB | 1*60 | 60 | 40 | 0 | 0 | 0 | 0 |  | 40 | 21/07/2015 |  | Unknown
30b | Sikalbaha Peaking GT |  | Gas | PDB | 1*150 | 150 | 150 | 145 | 110 | 145 | 110
31 | Sikalbaha (Energis) |  | HFO | RPP |  | 40 | 40 | 17 | 16 | 0 | 16
32 | Hathazari peaking |  | HFO | PDB | 11*8.9 | 98 | 98 | 0 | 76 | 0 | 88
33 | Dohazari-Kalaish Peaking |  | HFO | PDB | 6*17 | 102 | 102 | 0 | 102 | 0 | 102
34 | Juldah (Acorn) |  | HFO | QRPP | 8*13.45 | 100 | 100 | 81 | 100 | 81 | 100
35 | Barabkunda (Regent) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 18 | 21 | 21 | 21
36 | Malancha, Ctg. EPZ (United) |  | Gas |  | 5*8.73+3*9.34 |  |  | 2 | 25 | 3 | 25
37 | Chittagong ECPV 108 MW |  | HFO | IPP |  | 108 | 108 | 40 | 52 | 47 | 100 |  |  | Sikalbaha bus shut down
| Chittagong area Total |  |  |  |  | 1405 | 1325 | 868 | 1077 | 856 | 1133 | 90 | 40
38a | Ashuganj ST: Unit- 1 & 2 |  | Gas | APSCL | 2*64 | 128 | 97 | 50 | 50 | 50 | 50 |  | 47 | #1(28/04/2015) |  | Unknown
38b | Ashuganj ST: Unit- 3 |  | Gas | APSCL | 1*150 | 150 | 135 | 130 | 130 | 130 | 130
38c | Ashuganj ST: Unit- 4 |  | Gas | APSCL | 1*150 | 150 | 129 | 150 | 150 | 150 | 150
38d | Ashuganj ST: Unit- 5 |  | Gas | APSCL | 1*150 | 150 | 134 | 135 | 135 | 135 | 135
38e | Ashuganj 225 MW(GT) |  | Gas | APSCL | 1*140 | 140 | 140 | 0 | 0 | 0 | 0 |  | 140 | 2015-06-07 |  | Unknown
38f | Ashuganj : GT-2 |  | Gas | APSCL | 1*56 | 56 | 40 | 30 | 30 | 30 | 30 |  | 10 | 2015-02-08 |  | Unknown
38g | Ashuganj Engines |  | Gas | APSCL | 14*3.968 | 53 | 45 | 30 | 30 | 28 | 30 |  | 15 | 4 Machine problem
39 | Ashuganj (Precision) |  | Gas | RPP | 15*4 | 55 | 55 | 51 | 50 | 56 | 55
40 | Ashuganj (Aggrekko) |  | Gas | QRPP | 96*1.10 | 95 | 95 | 95 | 100 | 100 | 95
41 | Ashuganj (United) |  | Gas | QRPP | 14*4 | 53 | 53 | 53 | 53 | 53 | 53
42 | Ashuganj 195MW Modular |  | Gas | IPP | 20*9.73+1*16 | 195 | 195 | 135 | 144 | 137 | 140 |  | 51 | Machine problem
43 | Ashuganj (Midland) |  | Gas | IPP | 6*9.34 | 51 | 51 | 35 | 35 | 35 | 35
44 | Brahmanbaria (Aggreko) |  | Gas | QRPP | 86*1.10 | 85 | 85 | 85 | 85 | 86 | 85
45 | Titas (Daudkandi) Peaking |  | HFO | PDB | 6*8.92 | 52 | 52 | 0 | 49 | 0 | 50
46 | Chandpur CCPP |  | Gas | PDB | 1*106+1*57 | 163 | 163 | 104 | 104 | 104 | 105 |  | 57 | ST under maint
47 | Feni (Doreen) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 0 | 0 | 0 | 18 |  | 22 | Machine problem
48 | Feni, Mohipal (Doreen) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
49 | Jangalia (Summit) |  | Gas | SIPP,PDB | 4*8.73 | 33 | 33 | 33 | 33 | 33 | 33
50 | Lakdhanvi-52 MW |  | HFO | (IPP) |  | 52 | 52 | 41 | 52 | 7 | 52
51 | Summit Power, Comilla |  | Gas | SIPP,REB | 3*3.67+2*6.97 | 25 | 25 | 19 | 20 | 14 | 21 |  | 5 | Machine problem
| Comilla Area Total |  |  |  |  | 1719 | 1612 | 1187 | 1261 | 1159 | 1278 | 0 | 347
52 | RPCL CCPP |  | Gas | IPP | 4*35+1*70 | 210 | 202 | 191 | 200 | 198 | 202
53 | Tangail (Doreen) |  | Gas | SIPP, PDB | 8*2.90 | 22 | 22 | 18 | 19 | 19 | 19 |  | 3 | Machine problem
| Mymensingh Area Total |  |  |  |  | 232 | 224 | 209 | 219 | 217 | 221 | 0 | 0
54a | Fenchugonj CCPP-1 |  | Gas | PDB | 2*32+1*33 | 97 | 80 | 69 | 69 | 59 | 70 |  | 11 | ST(8/7/15) |  | Unknown
54b | Fenchugonj CCPP-2 |  | Gas | PDB | 2*35+1*35 | 104 | 90 | 55 | 55 | 55 | 55 |  | 35 | ST(21/5/15) |  | Unknown
55 | Fenchugonj (Barakatullah) |  | Gas | RPP | 19*2.90 | 51 | 51 | 46 | 52 | 47 | 51
56 | Fenchuganj (Energyprima) |  | Gas | RPP | 12*3.3+5*2 | 44 | 44 | 52 | 46 | 46 | 44
57 | Hobiganj (Confidence-EP) |  | Gas | SIPP, REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
58 | Shahjibazar GT: Unit- 8, 9 |  | Gas | PDB | 2*35 | 70 | 66 | 61 | 68 | 66 | 66
59 | Shahjibazar (Shahjibazar) |  | Gas | RPP | 32*2.90 | 86 | 86 | 84 | 86 | 84 | 86
60 | Shahjibazar (Energyprima) |  | Gas | RPP | 27*2.0 | 50 | 50 | 46 | 47 | 47 | 50
61 | Sylhet 150 MW GT |  | Gas | PDB | 1*142 | 142 | 142 | 144 | 143 | 144 | 142
62 | Sylhet 20 MW GT |  | Gas | PDB | 1*20 | 20 | 20 | 19 | 19 | 0 | 19
63 | Sylhet (Energyprima) |  | Gas | RPP | 27*2 | 50 | 50 | 47 | 44 | 41 | 44
64 | Shahjahanulla 25 MW |  | Gas | SIPP, REB | 3*9.34 | 25 | 25 | 16 | 25 | 20 | 25
65 | Summit Bibiana- 2 |  | Gas | IPP | 1*222 | 222 | 222 | 9 | 248 | 30 | 222
66 | Sylhet (Desh) |  | Gas | RPP | 6*1.95 | 10 | 10 | 7 | 9 | 8 | 10
| Sylhet Area Total |  |  |  |  | 982 | 947 | 666 | 922 | 658 | 895 | 0 | 46
67 | Bheramara GT: Unit- 1, 2 ,3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 34 | 0 | 32 |  |  | 1 Engine problem.
68 | Bheramara (Quantum) |  | HSD | RPP | 12*8.5+2*6+2*13 | 105 | 105 | 0 | 0 | 0 | 0 |  | 105 | contract date experid 31/12/2013
69 | Bheramara HVDC Interconnector |  |  | India |  | 500 | 500 | 427 | 427 | 434 | 436
70a | Khulna ST 110MW |  | HFO | PDB | 1*110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2014-04-11 |  | Unknown
70b | Khulna ST 60 MW |  | HFO | PDB | 1*60 |  |  | 0 | 0 | 0 | 0 |  |  | Plant retired in FY 2013-2014
71 | Khulna (KPCL-1) |  | HFO | IPP | 19*6.5 | 110 | 110 | 86 | 107 | 95 | 110
72 | Khulna (KPCL-2) |  | HFO | QRPP | 7*17 | 115 | 115 | 99 | 115 | 0 | 115
73 | Faridpur Peaking |  | HFO | PDB | 8*6.89 | 54 | 54 | 0 | 42 | 0 | 42 |  | 12 | Engine problem
74 | Khulna 150MW GT |  | HSD | NWZPGCL | 1*150 | 158 | 158 | 0 | 0 | 0 | 0 |  |  | 21/7/15 |  | Unknown
75 | Gopalganj Peaking |  | HFO | PDB | 16*6.98 | 109 | 109 | 0 | 70 | 0 | 80 |  | 39 | Engine problem
76 | Noapara (Quantam) |  | HFO | RPP | 5*9.9+6*9.5+2*9.2 | 101 | 101 | 0 | 0 | 0 | 0 |  | 101 | Long term maint.
77 | Noapara (Khanjahan Ali) |  | HFO | QRPP | 5*8.5 | 40 | 40 | 8 | 32 | 32 | 32 |  | 8 | Engine problem
78 | Khulna (Aggreko) 55MW |  | HSD | QRPP | 71*0.85 | 55 | 55 | 0 | 32 | 33 | 32 |  |  | Low demand
| Khulna Area Total |  |  |  |  | 1517 | 1448 | 620 | 859 | 594 | 879 | 0 | 320
79 | Barisal GT: Unit-1, 2 |  | HSD | PDB | 2*20 | 40 | 30 | 0 | 27 | 0 | 28 |  |  | Low demand
80 | Bhola (Venture) |  | Gas | RPP | 1*34.50 | 33 | 33 | 26 | 39 | 25 | 33
81 | Bhola CCPP GT-1,2,ST |  | Gas | PDB |  |  |  | 133 | 130 | 133 | 0 |  |  | On test
| Barisal Area Total |  |  |  |  | 73 | 63 | 159 | 196 | 158 | 61 | 0 | 0
82a | Baghabari GT |  | Gas | PDB | 1*71 | 71 | 71 | 62 | 67 | 70 | 70
82b | Baghabari GT |  | Gas | PDB | 1*100 | 100 | 100 | 95 | 103 | 90 | 100
83 | Baghabari Peaking |  | HFO | PDB | 6*8.9 | 52 | 52 | 0 | 40 | 0 | 40 |  | 12 | Engine problem
84 | Westmont GT, Baghabari |  | Gas | IPP |  |  |  | 0 | 0 | 0 | 0 |  |  | Plant Retired in FY 2013-2014
85 | Bera Peaking |  | HFO | PDB | 9*8.29 | 71 | 71 | 0 | 64 | 0 | 64 |  | 7 | Engine problem
86 | Amnura |  | HFO | QRPP | 7*7.79 | 50 | 50 | 35 | 41 | 0 | 41 |  | 9 | Engine problem
87 | Katakhali (Northern) |  | HFO | QRPP | 6*8.92 | 50 | 50 | 42 | 42 | 0 | 42 |  |  | Engine problem
88 | Katakhali Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 45 | 0 | 45
89 | Sirajganj CCPP |  | Gas | NWPGCL | 1*150+1*75 | 210 | 210 | 199 | 210 | 211 | 210
90 | Santahar Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 45 | 45 | 0 | 46
91 | Bogra (GBB) |  | Gas | RPP | 6*4 | 20 | 22 | 22 | 22 | 22 | 22
92 | Bogra (Energyprima) |  | Gas | RPP | 5*3.3+5*2 | 20 | 20 | 11 | 11 | 11 | 11 |  | 9 | Machine problem
93 | Ullapara (Summit) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 8 | 0 | 11 | 9
94 | Rajlanka 52 MW |  | HFO | IPP | 6*8.92 | 52 | 52 | 52 | 52 | 0 | 52
| Rajshahi Area Total |  |  |  |  | 807 | 809 | 571 | 742 | 415 | 752 | 0 | 37
95a | Barapukuria ST: Unit-1 |  | Coal | PDB | 1*125 | 125 | 100 | 87 | 90 | 87 | 90 |  | 10 | Machine problem
95b | Barapukuria ST: Unit-2 |  | Coal | PDB | 1*125 | 125 | 100 | 90 | 88 | 75 | 90 |  | 12 | Machine problem
96 | Rangpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 15 | 0 | 15
97 | Syedpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 18 | 0 | 18
98 | Thakurgaon (RZ) |  | HSD | RPP | 20*1.5+21*1.1 | 47 | 40 | 0 | 22 | 0 | 23
| Rangpur Area Total |  |  |  |  | 337 | 280 | 177 | 233 | 162 | 236 | 0 | 22
| Total |  |  |  |  | 11532 | 10937 | 6409 | 7792 | 6196 | 8043 | 145 | 2202
| Useable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 5919.6064 | 7197 | 5722.8711 | 7429
A. |  | 2015-08-04 | (Yesterday) |  |  |  |  | Tuesday
1 | Highest Generation : |  |  | 7792 | MW at | 20:00 | hrs | 11 Evening Peak Hour : | [5 empty] | 20:00 | hrs.
2 | Minimum Generation : |  |  | 5269 | MW at | 7:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 7792 | MW
3 | Day peak Generation : |  |  | 6409 | MW at | 12:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 7197 | MW
4 | Evening peak Generation : |  |  | 7792 | MW at | 20:00 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 0 | MW
5 | Total Energy Generation : |  |  | 154.6652 | MKWHr |  |  | 15. Area wise Demand (S/S end), Supply (S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 109.577 | MKWHr |  | By Oil: | 24.8936 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 4.2052 | MKWHr |  | By Hydro: | 5.6344 | MKWHr | Area | Demand | Supply | Loadshed | (Duration) |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Gas: | 145 | For Oil: | 0 | MW | Dhaka | 2830 | 2830 | 0 |  |  | Hour |  | MW
|  |  | For Water Shortage: |  |  | 0 | MW | Chittagong | 710 | 710 | 0 |  |  | 18:00 |  | 0
|  |  | For Plants S/D or M/C prob: |  |  | 2202 | MW | Khulna | 882 | 882 | 0 |  |  | 18:30 |  | 0
7 | Total Gas Supplied : |  | 1115.41 | MMCFD |  |  |  | Rajshahi | 767 | 767 | 0 |  |  | 19:00 |  | 0
8 | Fuel Cost : | i) Gas : |  | 76658143.474 | ii) Oil : Taka |  | 339418296.129 | Comilla | 634 | 634 | 0 |  |  | 19:30 |  | 0
|  | iii) Coal : | Taka | 16366778.512 | Total | Taka | 432443218.115 | Mymensingh | 446 | 446 | 0 |  |  | 20:00 |  | 0
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 7.8675 | MKWHr. | Sylhet | 294 | 294 | 0 |  |  | 21:00 |  | 0
| ii) During Peak Demand : |  |  | -420 | MW at | 20:00 | hrs | Barisal | 167 | 167 | 0 |  |  | 22:00 |  | 0
| iii) Maximum : |  |  | -160 | MW at | 18:30 | hrs | Rangpur | 467 | 467 | 0 |  |  | 23:00 |  | 0
10 | Maximum Temperature in Dhaka was |  |  |  | 33.2° C |  |  | Total | 7197 | 7197 | 0
B. |  | 2015-08-05 | (Today) |  |  |  | Wednesday |  |  | Probable max. temperature in Dhaka |  |  | 33.2° C
Forecast
1 | Maximum Demand* (Generation end) |  |  |  | 8000 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 0 | MW
2 | Maximum Generation (Generation end) |  |  |  | 8043 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Shortage (Generation end) |  |  |  | -43 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensingh | Sylhet | Barisal | Rangpur
4 | Total Energy Generation |  |  |  | 155 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
5 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 5708 | MW at | 7:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Import Through HVDC C/B Interconnector : |  |  |  |  | i) Energy | 10.3549 | MKWHr.
ii) During peak Demand : |  |  | 427 | MW at | 20:00 | hrs
iii) Maximum : |  |  | 437 | MW at | 7:00 | hrs
*Cost for HVDC energy is not usaually included in the total fuel cost.
*Demand may vary depending on the weather condition &other factors.

## P1
POWER GRID COMPANY OF BANGLADESH LTD.
|  |  | NATIONAL LOAD DESPATCH CENTER |  |  |  |  | QF-LDC-08
|  |  | DAILY REPORT |  |  |  |  | Page -1
[6 empty] | Reporting Date : | 2015-08-05
Till now the maximum generation is : - |  |  | 8122 MW | 21:00 | Hrs on | 2015-07-06
The Summary of Yesterday's ( |  | 2015-08-04 | Generation & Demand |  | Today's Actual Min Gen. & Probable Gen. & Demand
Day Peak Generation : |  | 6409 | MW Hour : | 12:00 | Min. Gen. at | 7:00 | 5708 | MW
Evening Peak Generation : |  | 7792 | MW Hour : | 20:00 | Max Generation : |  | 8043 | MW
E.P. Demand (at gen end) : |  | 7792 | MW Hour : | 20:00 | Max Demand : |  | 8000 | MW
Maximum Generation : |  | 7792 | MW Hour : | 20:00 | Shortage : |  | -43 | MW
Total Gen. (MKWH) : |  | 154.6652 | System L/ Factor : | 82.71% | Load Shed : |  | 0 | MW
EXPORT / IMPORT THROUGH EAST-WEST INTERCONNECTOR
Export from East grid to West grid :- Maximum |  |  | -160 | MW at | 18:30 | Energy | 7.8675 | MKWHR.
Import from West grid to East grid :- Maximum |  |  | - | MW at | - | Energy | - | MKWHR.
|  | Water Level of Kaptai Lake at 6:00 A M on |  | 2015-08-05
Actual : | 87.64 | Ft.(MSL) , | Rule curve : | 90.28 | Ft.( MSL )
Gas Consumed : | Total | 1115.41 | MMCFD. | Oil Consumed (PDB) :
[6 empty] | HSD : |  | Liter
[6 empty] | FO : |  | Liter
Cost of the Consumed Fuel (PDB+Pvt) : Gas : |  |  | 76658143.474
|  | Coal : | 16366778.512 | Oil : | 339418296.129 | Total : | 432443218.115
Load Shedding & Other Information
Area | Yesterday |  |  |  | Today
|  |  | Estimated Demand (S/S end) |  | Estimated Shedding (S/S end) |  | Rates of Shedding
| MW |  | MW |  |  | MW | (On Estimated Demand)
Dhaka | - | 0:00 | 2967 |  |  | - | -
Chittagong Area | - | 0:00 | 765 |  |  | - | -
Khulna Area | - | 0:00 | 853 |  |  | - | -
Rajshahi Area | - | 0:00 | 798 |  |  | - | -
Comilla Area | - | 0:00 | 614 |  |  | - | -
Mymensingh Area | - | 0:00 | 467 |  |  | - | -
Sylhet Area | - | 0:00 | 349 |  |  | - | -
Barisal Area | - | 0:00 | 163 |  |  | - | -
Rangpur Area | - | 0:00 | 453 |  |  | - | -
-
Total | 0 |  | 7429 |  |  | 0
Information of the Generating machines under shut down.
| Planned Shut- Down |  |  | Forced Shut- Down
|  |  |  | 1) Ghorasal ST: Unit-6 (18/07/2010) |  | 9) Ashuganj : GT-2 (02/08/2015)
|  |  |  | 2) Ashuganj ST: Unit-1(28/04/2015) |  | 10) Sikalbaha ST (21/07/2015)
|  |  |  | 3) Khulna ST 110 MW (04/11/2014) |  | 11) Khulna 150MW GT(21/07/2015)
4) Ghorasal ST: Unit-4 (05/01/2015)
5) Haripur GT 3 ( 24/05/2015)
6) Ashuganj 225 MW(GT)(06/07/2015)
7) Fenchuganj New ST(31/5/15)
8) Haripur-412 MW (25/5/15)
Additional Information of Machines, lines, Interruption / Forced Load shed etc.
| Description |  |  | Forced load shaded / Interrupted Areas
a) After maintenance Sirajganj ST was synchronized at 09:11.
b) Bakulia-Sikalbaha 132 kV Ckt-2 was shut down from 09:35 to 11:07 due to red hot maintenance at Sikalbaha end.
c) Bakulia-Sikalbaha 132 kV Ckt-1 was shut down from 12:38 to 15:33 due to red hot maintenance at Sikalbaha end.
d) Bheramara-Jk project 132 kV Ckt tripped at 14:11 due to #615 breaker burst at Bheramara end then Bottail 132 kV |  |  |  | About 94 MW power interruption occurred under Bottail
Ckt-1 & 2 were switched off for safety HVDC auxiliary supply fail. |  |  |  | S/S areas from 14:11 to 18:36.
e) After maintenance Sirajganj-Bogra 230 kV Ckt-1 was switched on at 19:25.
f) Comilla(n)-Meghnaghat 230kV Ckt-2 was shut down from 06:02 to 08:35 due to red hot maint at bus isolator T-point
at Comilla(n) end.
g) Khulna©-Khulna(s) 132 kV Ckt-1 was under shut down since 07:28(05/08/2015) due to red hot maint at Khulna© end
Sub Divisional Engineer |  |  | Executive Engineer |  |  | Superintendent Engineer
Network Operation Division |  |  | Network Operation Division |  |  | Load Dispatch Circle

## P2
POWER GRID COMPANY OF BANGLADESH LTD.
Description of the generation of various Power Stations
| Date : | 2015-08-04 | [6 empty] | Page -2
[5 empty] | Present | Peak Hour | Energy
| Name of Power Station |  | Unit | Producer | Generation | Generation | Generated |  | Remarks
Capacity
[5 empty] | MW | MW | KWHr
1 | Ghorasal ST: Unit-1, 2 |  | 2*55 | PDB | 85 | 82 | 1883000
0
2 | Ghorasal ST: Unit-3 |  | 1*210 | PDB | 170 | 175 | 4278645
3 | Ghorasal ST: Unit-4 |  | 1*210 | PDB | 180 | 0 | 0 | Under maint
4 | Ghorasal ST: Unit-5 |  | 1*210 | PDB | 190 | 190 | 4378500
5 | Ghorasal ST: Unit-6 |  | 1*210 | PDB | 190 | 0 | 0 | Long term maint.
6 | Ghorashal 100MW(Agreko) |  | 128*0.85 | QRPP | 100 | 100 | 2304030
7 | Ghorashal 45MW(Agreko) |  | 58*0.85 | QRPP | 45 | 43 | 861140
8 | Ghorashal 78.5 MW (MAX) |  | 4*21.5 | QRPP | 78 | 0 | 0 | Contract Date Expired, Long term maint
9 | Ghorashal (Regent) |  | 34*3.35 | IPP | 108 | 55 | 1242000 | Machine problem
|  |  | 1*32 | PDB | 20 | 20 | 485200
10 | Haripur GT: Unit-1, 2, 3 |  | 1*32 | PDB | 20 | 0 | 0 | Under maint.
|  |  | 1*32 | PDB | 20 |  | 0 | Under maint. since 18/06/09, Long term maint
11 | Haripur EGCB 412 MW CCPP |  | 1*273+1*139 | EGCB | 412 | 0 | 0 | Under maint.
12 | Haripur NEPC(HFO) |  | 8*15 | IPP | 110 | 110 | 1319500
13 | Haripur Power CCPP |  | 1*235+1*125 | IPP | 360 | 347 | 8255000
14 | Meghnaghat CCPP |  | 2*150+1*150 | IPP | 450 | 170 | 4940000 | ST Under maint.
15 | Meghnaghat (IEL) |  | 12*8.9 | RPP | 100 | 86 | 1410240
16 | Meghnaghat CCPP(Summit) |  | 2*110+1*110 | IPP | 305 | 0 | 0 | Reserve
17 | Madanganj (Summit) |  | 6*17 | QRPP | 100 | 99 | 1723490
18 | Keraniganj (Powerpac) |  | 8*13.45 | RPP | 100 | 101 | 1742034
19 | Narsingdi (Doreen) |  | 8 * 2.9 | SIPP, REB | 22 | 14 | 353844 | Machine problem
20 | Siddhirgonj ST |  | 1*210 | PDB | 150 | 0 | 0 | Under maint
21 | Siddhirgonj GT : Unit-1 & 2 |  | 2*105 | EGCB | 210 | 180 | 4088000 | Low demand
22 | Siddhirgonj (Desh) |  | 96*1.2 | QRPP | 98 | 82 | 378240 | Engine problem
23 | Siddhirgonj (Dutch Bangla) |  | 12*8.9 | RPP | 100 | 91 | 1539936 | Engine problem
24 | Pagla (DPA) |  | 100*0.5 | QRPP | 50 | 52 | 232580
25 | Gagnagar (Orion) |  | 12*8.924 | IPP | 102 | 94 | 1301616 | Engine problem
26 | Katpotti 52 MW |  |  | RPP | 51 | 52 | 612480
27 | Kodda Peaking |  |  | BPDB-RPCL |  | 0 | 276960
28
29
30 | Summit Power,Dhaka |  | 6*3.67+2*6.97+14*8.73 | SIPP, REB | 146 | 107 | 2462000 | Machine problem
31 | Gazipur (RPCL) |  | 6*8.9 | IPP | 52 | 33 | 599040 | Engine problem
32 | Tongi GT |  | 1*105 | PDB | 105 | 0 | 564500 | Gas Shortage
| Dhaka Area Total |  |  |  | 4229 | 2283 | 47231975
33 | Chitagong ST:Unit-1 |  | 1*210 | PDB | 180 | 150 | 3500000 | Gas Shortage
34 | Chitagong ST:Unit-2 |  | 1*210 | PDB | 180 | 120 | 2900000 | Gas Shortage
35 | Raozan 25 MW (RPCL) |  | 3*8.9 | IPP | 25 | 26 | 483840
36 | Patenga 50 MW(Barakatulla) |  | 8*6.89 | IPP | 50 | 46 | 559200 | Engine problem
37 | Chittagong ECPV 108 MW |  |  | IPP | 108 | 52 | 698880 | Sikalbaha bus shut down
|  |  | 1*40 | PDB | 40 | 42 | 3252000
|  |  | 1*40 | PDB | 40 | 41 | 0
38 | Karnafuli Hydro Power Station |  | 1*50 | PDB | 50 | 50 | 0
|  |  | 1*50 | PDB | 50 | 50 | 2382400
|  |  | 1*50 | PDB | 50 | 50 | 0
39 | Shikalbaha ST |  | 1*60 | PDB | 40 | 0 | 0 | Under maint
40 | Shikalbaha peaking GT |  | 1*150 | PDB | 150 | 110 | 3149529 | Gas Shortage
41 | Hathazari peaking |  | 11*8.9 | PDB | 98 | 76 | 137392 | Engine problem
42 | Dohazari-Kalaish peaking |  | 6*17 | PDB | 102 | 102 | 328969
43 | Juldah (Acorn) |  | 8*13.45 | QRPP | 100 | 100 | 1485480
44 | Shikalbaha (Energis) |  |  | RPP | 40 | 16 | 264000
45 | Barabkunda (regent) |  | 8*2.90 | SIPP, PDB | 22 | 21 | 498480
46 | Malancha, Ctg EPZ(United) |  |  |  |  | 25 | 542880
| Chittagong Area Total |  |  |  | 1325 | 1077 | 20183050
47 | Ashuganj ST: Unit- 1 & 2 |  | 1*64 | APSCL | 97 | 0 | 1217635 | Under maint
|  |  | 1*64 | APSCL |  | 50 | 0
48 | Ashuganj ST: Unit- 3 |  | 1*150 | APSCL | 135 | 130 | 2995458
49 | Ashuganj ST: Unit- 4 |  | 1*150 | APSCL | 129 | 150 | 3552305
50 | Ashuganj ST: Unit- 5 |  | 1*150 | APSCL | 134 | 135 | 3245832
| Ashuganj CCPP 225 MW |  | 1*140 | APSCL | 140 | 0 | 0 | Under maint
51 | Ashuganj : GT-2 |  | 1*56 | APSCL | 40 | 30 | 589123
52 | Ashuganj-Engines |  | 14*3.968 | APSCL | 45 | 30 | 682992 | Machine problem
53 | Ashugonj (Precision) |  | 15*4 | RPP | 55 | 50 | 1214400
54 | Ashuganj (Aggrekko) |  | 82*1.1 | RPP | 95 | 100 | 2095560
55 | Ashuganj (United) |  | 14*4 | RPP | 53 | 53 | 1186000
56 | Ashuganj Modular 200 MW |  |  | IPP | 195 | 144 | 3680000 | Machine problem
57 | Ashuganj (Midland) |  | 6*9.34 | IPP | 51 | 35 | 687490 | Machine problem
58 | Brahmanbaria (Aggreko) |  | 72*1.1 | QRPP | 85 | 85 | 1791000
59 | Titas (Daudkandi) Peaking |  | 6 * 8.92 | PDB | 52 | 49 | 255092 | Engine problem
60 | Chandpur CCPP |  | 1*106+1*57 | PDB | 163 | 104 | 2328081 | ST under maint.
61 | Feni(Doreen) |  | 8 *2.94 | SIPP, PDB | 22 | 0 | 176076 | Machine problem
62 | Feni Mohipal (Doreen) |  | 4*2.9 | SIPP, REB | 11 | 11 | 238320
63 | Jangalia (Summit) |  | 4*8.73 | SIPP, PDB | 33 | 33 | 813700
64 | Lakdamavi-52 MW |  |  | IPP | 52 | 52 | 667306 | Engine problem
65 | Summit Power,Comilla |  | 3*3.67+2*6.9 | SIPP, REB | 25 | 20 | 490220 | Machine problem
| Comilla Area Total |  |  |  | 1612 | 1261 | 27906590
66 | RPCL CCPP |  | 4*35+1*70 | IPP | 202 | 200 | 4652000
67 | Tangail (Doreen) |  | 8 *2.9 | SIPP,PDB | 22 | 19 | 415008 | Machine problem
| Mymensingh Area Total |  |  |  | 224 | 219 | 5067008
68 | Fenchugonj CCPP-1 |  | 2*32+1*33 | PDB | 80 | 69 | 1585000 | Machine problem
69 | Fenchugonj CCPP-2 |  | 2*35+1*35 | PDB | 90 | 55 | 1322060 | Machine problem
70 | Fenchugonj RPP (51 MW) |  | 2.9*19 | RPP | 51 | 52 | 1116000
71 | Fenchuganj (Energyprima) |  | 12*3.3+5*2 | RPP | 44 | 46 | 1101000
72 | Hobiganj (Confidence-EP) |  | 4*2.9 | SIPP, REB | 11 | 11 | 250368
[5 empty] | 0 | 0 | 0
73 | Shahjibazar GT: Unit-8,9 |  | 32*2.9 | PDB | 66 | 68 | 1157000
74 | Shahjibazar (Shahjibazar) |  | 32*2.9 | RPP | 86 | 86 | 1788480
75 | Shahjibazar (Energyprima) |  | 27*2.0 | RPP | 50 | 47 | 920880
76 | Sylhet 150 MW GT |  | 1*142 | PDB | 142 | 143 | 3026110
77 | Sylhet 20 MW GT |  | 1*20 | PDB | 20 | 19 | 465000
78 | Sylhet (Energyprima) |  | 27 * 2.0 | RPP | 50 | 44 | 1009560 | Machine problem
79 | Shahjahanulla 25MW |  | 3 * 9.34 | CIPP,REB | 25 | 25 | 525936
80 | Summit Bibiana-2 |  | 1*222 | IPP | 222 | 248 | 2748600
81 | Sylhet (Desh) |  | 6*1.95 | RPP | 10 | 9 | 179640 | Machine problem
| Sylhet Area Total |  |  |  | 947 | 922 | 17195634
|  |  | 1*20 | PDB | 16 | 17 | 0
82 | Bheramara GT: Unit-1,2,3 |  | 1*20 | PDB | 14 | 0 | 53100 | Engine problem
|  |  | 1*20 | PDB | 16 | 17 | 0
83 | Bheramara (Quantum) |  | 12*8.5+2*6+2*13 | RPP | 105 | 0 | 0 | All Engine problem, Long term maint
84 | Bheramara HVDC Interconnector |  |  | India | 500 | 427 | 10354909
85 | Khulna ST 110 MW |  | 1*110 | PDB | 55 | 0 | 0 | Under maint
86 | Khulna ST 60 MW |  | 1*60 | PDB |  | 0 | 0 | Plant Retired in FY 2013-2014
87 | Khulna (KPCL-1) |  | 19*6.5 | IPP | 110 | 107 | 1693440
88 | Khulna (KPCL-2) |  | 7*17 | QRPP | 115 | 115 | 2128320
89 | Faridpur Peaking |  | 8*6.89 | PDB | 54 | 42 | 499680 | Engine problem
90 | Khulna 150 MW GT |  | 1*150 | NWZPGCL | 158 | 0 | 0 | Under maint
91 | Gopalganj Peaking |  | 16*6.98 | PDB | 109 | 70 | 464000 | Engine problem
92 | Noapara (Quantam) |  | 9.9*5+9.5*6+9.2*2 | RPP | 101 | 0 | 0 | All Engine problem, Long term maint
93 | Noapara (Khanjahan Ali) |  | 5*8.5 | QRPP | 40 | 32 | 448500 | Engine problem
94 | Khulna (Aggreko) 55MW |  | 71*0.85 | QRPP | 55 | 32 | 70260
| Khulna Area Total |  |  |  | 1448 | 859 | 15712209
95 | Barisal GT: Unit-1,2 |  | 1*20 | PDB | 16 | 14 | 0
96 |  |  | 1*20 | PDB | 14 | 13 | 87873
97 | Bhola (Venture) |  | 1*34.5 | RPP | 33 | 39 | 705464
98 | Bhola CCPP GT-1,2,ST |  |  | PDB | 0 | 130 | 3205700 | On test
| Barisal Area Total |  |  |  | 63 | 196 | 3999037
99 | Baghabari GT |  | 1*71 | PDB | 71 | 67 | 1523000
100 | Baghabari GT |  | 1*100 | PDB | 100 | 103 | 2381000
101 | Baghabari Peaking |  | 6*8.9 | PDB | 52 | 40 | 157808 | Engine problem
102 | Westmont GT, Baghabari |  |  | IPP |  | 0 | 0 | Plant Retired in FY 2013-2014
103 | Bera Peaking |  | 9*8.29 | PDB | 71 | 64 | 289192 | Machine problem
104 | Amnura |  | 7*7.79 | QRPP | 50 | 41 | 861800 | Engine problem
105 | Katakhali (Northern) |  | 6*8.92 | QRPP | 50 | 42 | 787448 | Engine problem
106 | Katakhali Peaking |  | 6*8.7 | PDB | 50 | 45 | 293640 | Engine problem
107 | Sirajganj CCPP |  | 1*50+1*75 | NWPGCL | 210 | 210 | 3811864
108 | Santahar Peaking |  | 6*8.7 | PDB | 50 | 45 | 771431 | Engine problem
109 | Bogra (GBB) |  | 6*4 | RPP | 22 | 22 | 518290
110 | Bogra (Energyprima) |  | 5*3.3+5*2 | RPP | 20 | 11 | 264744 | Machine problem
111 | Ullapara (Summit) |  | 4 *2.90 | SIPP, REB | 11 | 0 | 196800 | 33 kV Feeder fault
112 | Rajlanka 52 MW |  | 6*8.92 | IPP | 52 | 52 | 919200
| Rajshahi Area Total |  |  |  | 809 | 742 | 12776217
113 | Barapukuria ST: Unit-1 |  | 1*125 | PDB | 100 | 90 | 2097600 | Machine problem
114 | Barapukuria ST: Unit-2 |  | 1*125 | PDB | 100 | 88 | 2107636 | Machine problem
115 | Rangpur GT |  | 1*20 | PDB | 20 | 15 | 120000
116 | Saidpur GT |  | 1*20 | PDB | 20 | 18 | 154000
117 | Thakurgaon (RZ) |  | 20*1.5+21*1.1 | RPP | 40 | 22 | 114230
| Rangpur Area Total |  |  |  | 280 | 233 | 4593466
| Total |  |  |  | 10937 | 7792 | 154665186
| Eastern Grid Total |  |  |  | 8337 | 5762 | 117584257
| Western Grid Total |  |  |  | 2600 | 2030 | 37080929
| National Grid Total |  |  |  | 10937 | 7792 | 154665186
*Data collected from respective power station over telephone.

## P3
| POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-09
NATIONAL LOAD DESPATCH CENTER
PEAK HOUR DEMAND (AT S/S END) OF DIFFERENT AREAS
Date: | 2015-08-04
(a) ENTIRE EASTERN GRID : |  |  | 4914 | MW | (b) ENTIRE WESTERN GRID : |  |  | 2283 | MW
i) Dhaka area |  |  | 2830 | MW | i) Khulna area |  |  | 882 | MW
ii) Chittagong area |  |  | 710 | MW | ii) Rajshahi area |  |  | 767 | MW
iii) Comilla area |  |  | 634 | MW | iii) Barisal area |  |  | 167 | MW
iv) Mymensingh area |  |  | 446 | MW | iv) Rangpur area |  |  | 467 | MW
v) Sylhet area |  |  | 294 | MW
| SYSTEM TOTAL DEMAND ( a + b ) = |  |  | 7197 | MW
MAXIMUM LOAD SERVED BY DIFFERENT SUB-STATIONS
Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour
Siddhirganj | 102 | 1930 | Kishorganj | 50 | 2200 | Jessore | 101 | 2400
Munsiganj | 89 | 2000 | Netrokona | 57 | 1930 | Jhenida | 60 | 2000
Megnaghat | 32 | 2000 | Jamalpur | 92 | 1930 | Bottail | 92 | 1930
Shyampur | 105 | 1300 | Sherpur | 26 | 2000 | G.K Project | 34.2 | 2000
Bhulta | 116 | 1500 | Srimongal | 30 | 2200 | Faridpur | 112 | 2100
Madanganj | 31 | 1500 | Shahjibazar | 52 | 1930 | Madaripur | 82 | 1930
Shitalakhya | 72 | 1600 | Fenchuganj | 24 | 2000 | Gopalganj | 40 | 1930
Rahim steel | 6 | 1000 | Khulawara | 30 | 2200 | Bagerhat | 63 | 2000
Matuail | 55 | 1000 | Sylhet | 131 | 1930 | Mongla | 20 | 900
Ghorasal | 84 | 2200 | Chatak | 43 | 2000 | Satkhira | 55 | 2000
Narsingdi | 66 | 1930 | Comilla (S) | 149 | 1930 | Gallamari | 33.4 | 1200
Haripur (SBU) | 61 | 2100 | Comilla(N) | 52 | 2200 | Magura | 26 | 2000
Ullon | 76 | 2000 | Chandpur | 84 | 2100 | Chuadanga | 40 | 2000
Hasnabad | 149 | 1900 | Feni | 95 | 2000 | Barisal | 86 | 1930
Magbazar | 126 | 1200 | Chowmuhani | 144 | 1900 | Patuakhali | 64 | 2000
Maniknagar | 68 | 1700 | Ashuganj | 47 | 1900 | Bhandaria | 32 | 1930
Bangabhaban | 40 | 1500 | Daudkandi | 42 | 1900 | Ishurdi | 42 | 1930
Narinda | 90 | 1400 | B.Baria | 78 | 1900 | Natore | 69 | 1930
Dhanmondi | 138 | 1200 | Madanhat 32305 | 48 | 1500 | Bogra | 172 | 2000
Lalbag | 65 | 1700 | Hathazari | 84 | 2200 | Noagaon | 71 | 1930
Mirpur | 76.5 | 1930 | Khulshi | 163 | 1400 | Rajshahi | 112 | 1930
Kalyanpur | 123 | 2000 | Halishahar | 109 | 2000 | C.Nawabganj | 51 | 2000
Gulshan | 134 | 1500 | Baraulia | 79 | 1500 | Amnura | 18 | 2000
Uttara | 91 | 1500 | Sikalbaha | 39 | 2100 | Pabna | 76 | 1930
Kamrangirchar | 90 | 1000 | Dohazari | 56 | 2200 | Shahjadpur | 59 | 1930
Savar | 90 | 2000 | Cox'sbazar | 54 | 2100 | Serajganj | 60 | 2000
Bhasantec | 107 | 1930 | Chandraghona | 26.6 | 2000 | Niyamatpur | 54 | 2000
Agargaon | 35 | 1300 | Kaptai | 3.9 | 1830 | Joypurhat | 32 | 1930
Satmosjid | 30 | 2100 | A. Khaer Stl. | 12 | 1100 | Rangpur | 95 | 1930
Tongi | 88 | 2100 | Bakulia | 94 | 1200 | Lalmonirhat | 59 | 2000
Kabirpur | 168 | 1500 | Julda | 20 | 600 | Saidpur | 80 | 1930
Basundhara | 122 | 1500 | TK chemical | 0.6 | 100 | Purbasadipur | 75 | 1930
Manikganj | 74 | 2100 | Modern Steel | 19 | 400 | Thakurgaon | 70 | 1930
Joydevpur | 206 | 2100 | Shahmirpur | 17 | 2000 | Palashbari | 68 | 1930
New Tongi | 88 | 1500 | Goalpara | 19 | 1930 | Barapukuria | 34 | 1900
Tangail | 119 | 2200 | Central s/s | 96 | 1930 | Panchagar | 18 | 1930
Mymensing | 121 | 2100 | Noapara | 53 | 1930
Sub Divisional Engineer |  |  | Executive Engineer |  |  | Superintendent Engineer
Network Operation Division |  |  | Network Operation Division |  |  | Load Despatch Circle
(1) Honbl. State Minister |  |  | (8) Executive Director (O & M) PGCB. |  |  | (18) C.E. Transmission (1 & 2) PGCB.
Ministry of Power,Energy & Mineral |  |  | (9) Member,Generation,PDB. |  |  | (19) S.E. System Protection,PGCB.
Resources, GOB. |  |  | (10) Member,Distribution. |  |  | (20) Director,Public Relation,PDB.
(2) Secy (Power Divn.)Ministry of |  |  | (11) Member,Transmission & |  |  | (21) Director Program, PDB.
Power,Energy & Mineral Resources. |  |  | System Operation,PDB. |  |  | (22) S.E. Consumer Affairs,PDB.
(3) Director General,Power cell |  |  | (12) Member,P&D,PDB. |  |  | (23) Director,Project Planning,PDB.
(4) Chairman,BERC |  |  | (13) C.E (P & D), PGCB. |  |  | (24) Director,System Planning,PDB.
(5) Chairman, BPDB. |  |  | (14) G.M. Commercial Operation |  |  | (25) Executive Eng.IMD.
(6) Managing Director, PGCB. |  |  | (15) C.E. Generation,PDB. |  |  | (26) Executive Eng. EMD.
(7) Member(Power & Industry) |  |  | (16) C.E, (P & D),PDB. |  |  | (27) NLDC
Planning Commission. |  |  | (17) C.E. System Operation,PGCB

## L.curve
Date | 2015-08-04 | [6 empty] | QF-LDC-11
TIME | E-W INT. | EAST GRID | WEST GRID | TOTAL |  | Demand | Hour
0:00 | -320 | 5184 | 1622 | 6806 | -320 | 6806 | 0:00
0:30 | -350 | 5017.5 | 1614.5 | 6632 | -380 | 6632 | 1:00
1:00 | -380 | 4851 | 1607 | 6458 | -380 | 6458 | 2:00
1:30 | -380 | 4835 | 1569.5 | 6404.5 | -380 | 6404.5 | 3:00
2:00 | -380 | 4819 | 1532 | 6351 | -380 | 6351 | 4:00
2:30 | -380 | 4750.5 | 1492 | 6242.5 | -380 | 6242.5 | 5:00
3:00 | -380 | 4682 | 1452 | 6134 | -290 | 6134 | 6:00
3:30 | -380 | 4685 | 1422 | 6107 | -260 | 6107 | 7:00
4:00 | -380 | 4688 | 1392 | 6080 | -290 | 6080 | 8:00
4:30 | -380 | 4669.5 | 1403.5 | 6073 | -250 | 6073 | 9:00
5:00 | -380 | 4651 | 1415 | 6066 | -212 | 6066 | 10:00
5:30 | -335 | 4443.5 | 1368.5 | 5812 | -170 | 5812 | 11:00
6:00 | -290 | 4236 | 1322 | 5558 | -180 | 5558 | 12:00
6:30 | -275 | 4162.5 | 1251 | 5413.5 | -240 | 5413.5 | 13:00
7:00 | -260 | 4089 | 1180 | 5269 | -230 | 5269 | 14:00 |  | 7792 | 20:00
7:30 | -275 | 4215.5 | 1182.5 | 5398 | -240 | 5398 | 15:00 |  | 6409 | 12:00
8:00 | -290 | 4342 | 1185 | 5527 | -260 | 5527 | 16:00
8:30 | -270 | 4522.5 | 1259.5 | 5782 | -270 | 5782 | 17:00
9:00 | -250 | 4703 | 1334 | 6037 | -200 | 6037 | 18:00
9:30 | -231 | 4749 | 1390 | 6139 | -160 | 6139 | 18:30
10:00 | -212 | 4795 | 1446 | 6241 | -360 | 6241 | 19:00
10:30 | -191 | 4794 | 1461.5 | 6255.5 | -420 | 6255.5 | 19:30
11:00 | -170 | 4793 | 1477 | 6270 | -420 | 6270 | 20:00
11:30 | -175 | 4837.5 | 1502 | 6339.5 | -450 | 6339.5 | 21:00
12:00 | -180 | 4882 | 1527 | 6409 | -460 | 6409 | 22:00
12:30 | -210 | 4879 | 1519 | 6398 | -530 | 6398 | 23:00
13:00 | -240 | 4876 | 1511 | 6387 | -550 | 6387 | 24:00
13:30 | -235 | 4871 | 1510 | 6381 |  | 6381
14:00 | -230 | 4866 | 1509 | 6375 | 128.92 | 6375
14:30 | -235 | 4921.5 | 1516 | 6437.5 | 86.5 | 6437.5
15:00 | -240 | 4977 | 1523 | 6500 |  | 6500
15:30 | -250 | 5053 | 1514.5 | 6567.5 | 7867500 | 6567.5
16:00 | -260 | 5129 | 1506 | 6635 |  | 6635
16:30 | -265 | 5022.5 | 1462.5 | 6485 |  | 6485
17:00 | -270 | 4916 | 1419 | 6335 | 700 | 6335
17:30 | -270 | 4788 | 1427 | 6215 | 1800 | 6215
18:00 | -270 | 4660 | 1435 | 6095 | 100 | 6095
18:30 | -160 | 4807 | 1528 | 6335 | 1400 | 6335
19:00 | -360 | 5448 | 1864 | 7312 | 100 | 7312
19:30 | -420 | 5756 | 1983 | 7739 | 1800 | 7739
20:00 | -420 | 5762 | 2030 | 7792 | 1800 | 7792
20:30 | -435 | 5765.5 | 1986.5 | 7752 | 1800 | 7752
21:00 | -450 | 5769 | 1943 | 7712 | 2100 | 7712
21:30 | -455 | 5726.5 | 1934 | 7660.5 | 1900 | 7660.5
22:00 | -460 | 5684 | 1925 | 7609 | 1900 | 7609
22:30 | -495 | 5609 | 1851 | 7460 |  | 7460
23:00 | -530 | 5534 | 1777 | 7311 |  | 7311
23:30 | -540 | 5546 | 1743.5 | 7289.5 |  | 7289.5
24:00 | -550 | 5558 | 1710 | 7268 |  | 7268
*MAX.GEN.(E.P.) |  | 7792 |  | 20:00
*MAX.GEN.(D.P.) |  | 6409 |  | 12:00
|  |  |  | min | max
|  | 3063.9 | 3349 | 8:00 | 1:00
|  | 2664.1 | 3286.1 | 13:00 | 11:00
|  | 2910.2 | 3139.4 | 18:30 | 24:00
|  | 2664.1 | 3349 | 13:00 | 1:00
|  | 282 |  | 4:00
|  | 276 |  | 18:00
|  | 348 |  | 21:00
|  | 348 |  | 21:00
| Deputy Manager |  |  | Manager |  |  | Deputy General Manager
| Load Despatch Division |  |  | Load Despatch Division |  |  | Load Despatch Circle
NATIONAL LOAD DESPATCH CENTER
3595 MW (09:00 )
4008 MW(05:00 ) .4MW (19:30)
7792 MW
6409 MW
Daily Load Curve 04-08-2015

## En.Curve
QF-LDC-12
Date | 2015-08-04 |  | Energy | 154665186 | 129208819
TIME | GAS | HVDC | P.GEN(GAS). | P.GEN(OIL). | COAL | HYDRO | OIL | SHORTAGE
0:00 | 1527 | 431 | 2810 | 990 | 177 | 234 | 215 | 0
0:30 | 1524 | 433.5 | 2929.5 | 739 | 181 | 234.5 | 172.5 | 0
1:00 | 1521 | 436 | 3049 | 488 | 185 | 235 | 130 | 0
1:30 | 1527.5 | 436 | 3059 | 419 | 182.5 | 235 | 130 | 0 |  |  |  | 154.6652
2:00 | 1534 | 436 | 3069 | 350 | 180 | 235 | 130 | 0 |  |  |  | 0
2:30 | 1511 | 436 | 3051.5 | 327 | 179.5 | 235 | 107.5 | 0 |  |  |  | 154.6652
3:00 | 1488 | 436 | 3034 | 304 | 179 | 235 | 85 | 0
3:30 | 1489 | 436 | 3037.5 | 279 | 178.5 | 235 | 85.5 | 0
4:00 | 1490 | 436 | 3041 | 254 | 178 | 235 | 86 | 0
4:30 | 1496.5 | 436 | 3018 | 262.5 | 178.5 | 235 | 85.5 | 0
5:00 | 1503 | 436 | 2995 | 271 | 179 | 235 | 85 | 0
5:30 | 1490.5 | 436 | 2794.5 | 287 | 178 | 235 | 87 | 0
6:00 | 1478 | 436 | 2594 | 303 | 177 | 235 | 89 | 0
6:30 | 1494 | 436.5 | 2498 | 299.5 | 176 | 235 | 67 | 0
7:00 | 1510 | 437 | 2402 | 296 | 175 | 235 | 45 | 0
7:30 | 1524 | 432 | 2471 | 342 | 173 | 250 | 45 | 0
8:00 | 1538 | 427 | 2540 | 388 | 171 | 265 | 45 | 0
8:30 | 1505.5 | 427.5 | 2580.5 | 630.5 | 174.5 | 250 | 49 | 0
9:00 | 1473 | 428 | 2621 | 873 | 178 | 235 | 53 | 0
9:30 | 1478 | 427.5 | 2641.5 | 940.5 | 177.5 | 235.5 | 65 | 0
10:00 | 1483 | 427 | 2662 | 1008 | 177 | 236 | 77 | 0
10:30 | 1448 | 427 | 2661.5 | 1064 | 175.5 | 233 | 77 | 0
11:00 | 1413 | 427 | 2661 | 1120 | 174 | 230 | 77 | 0
11:30 | 1452 | 427 | 2692.5 | 1115.5 | 175.5 | 232.5 | 65 | 0
12:00 | 1491 | 427 | 2724 | 1111 | 177 | 235 | 53 | 0
12:30 | 1460.5 | 427 | 2744.5 | 1122 | 177 | 235 | 46.5 | 0
13:00 | 1430 | 427 | 2765 | 1133 | 177 | 235 | 40 | 0
13:30 | 1437 | 427 | 2767 | 1130 | 177 | 235 | 36 | 0
14:00 | 1444 | 427 | 2769 | 1127 | 177 | 235 | 32 | 0
14:30 | 1452 | 427 | 2786.5 | 1167.5 | 175.5 | 234.5 | 32 | 0
15:00 | 1460 | 427 | 2804 | 1208 | 174 | 234 | 32 | 0
15:30 | 1475.5 | 427 | 2822.5 | 1258 | 166 | 234 | 32 | 0 | Max Temp. in Dhaka | 33.2° C
16:00 | 1491 | 427 | 2841 | 1308 | 158 | 234 | 32 | 0
16:30 | 1457.5 | 427 | 2814.5 | 1234 | 152 | 234 | 24 | 0
17:00 | 1424 | 427 | 2788 | 1160 | 146 | 234 | 16 | 0
17:30 | 1408.5 | 426.5 | 2685.5 | 1090 | 158 | 233.5 | 41 | 0
18:00 | 1393 | 426 | 2583 | 1020 | 170 | 233 | 66 | 0
18:30 | 1429 | 427 | 2611 | 1021 | 178 | 233 | 128 | 0
19:00 | 1453 | 427 | 2828 | 1391 | 175 | 233 | 458 | 0
19:30 | 1502 | 427 | 2913 | 1499 | 176 | 233 | 579 | 0
20:00 | 1475 | 427 | 2939 | 1519 | 178 | 233 | 588 | 0
20:30 | 1475 | 427 | 3013.5 | 1501.5 | 177.5 | 232.5 | 510.5 | 0
21:00 | 1475 | 427 | 3088 | 1484 | 177 | 232 | 433 | 0
21:30 | 1481 | 427 | 3096 | 1428 | 177.5 | 233.5 | 416 | 0
22:00 | 1487 | 427 | 3104 | 1372 | 178 | 235 | 399 | 0
22:30 | 1474.5 | 425.5 | 3071 | 1342 | 178.5 | 235 | 329.5 | 0
23:00 | 1462 | 424 | 3038 | 1312 | 179 | 235 | 260 | 0
23:30 | 1501 | 424 | 3059.5 | 1268 | 176 | 235.5 | 222 | 0
24:00 | 1540 | 424 | 3081 | 1224 | 173 | 236 | 184 | 0
|  | 1490 |  |  |  |  | 2380 | 0
|  | Deputy / Asstt. Manager |  |  | Manager
|  | Load Despatch Division |  |  | Load Despatch Division
NATIONAL LOAD DESPATCH CENTER
Gas
Daily Energy Curve 04-08-2015

## volt
NATIONAL LOAD DESPATCH CENTER
The Maximum & Minimum Voltages of different Sub-Stations.
Date : | 2015-08-04
| Maxm |  | Minm |  |  | Maxm |  | Minm
Sub-Station | Voltage | Hour | Voltage | Hour | Sub-Station | Voltage | Hour | Voltage | Hour
230 KV | KV |  | KV |  | 230 KV | KV |  | KV
Ghorasal | 225 | 100 | 218 | 1100 | Hasnabad | 212 | 500 | 204 | 1200
Ishurdi | 235 | 100 | 227 | 1900 | Aminbazar | 213 | 300 | 201 | 1100
Ashuganj | 231 | 300 | 225 | 1930 | Tongi | 212 | 100 | 203 | 1000
Serajganj | 229 | 600 | 220 | 2200 | Comilla (N) | 220 | 100 | 217 | 1500
Baghabari | 225 | 1500 | 220 | 2100 | Hathazari | 220 | 400 | 215 | 1000
Barapukuria | 228 | 600 | 221 | 2200 | Megnaghat | 214 | 600 | 204 | 1100
Bogra | 225 | 600 | 215 | 2400 | Fenchuganj | 233 | 200 | 221 | 1600
Khulna South | 233 | 600 | 213 | 1900 | Siddhirganj | 226 | 600 | 209 | 1200
Rampura | 212 | 100 | 204 | 1200 | Maniknagar | 225 | 500 | 206 | 1200
Haripur | 210 | 100 | 203 | 1200 | Old Airport | 211 | 500 | 198 | 1200
132 kV | KV |  | KV |  | 132 kV | KV |  | KV
Siddhirganj | 136 | 2100 | 125 | 1200 | Madanhat | 135 | 1300 | 132 | 100
Munsiganj | 135 | 1800 | 127 | 1200 | Hathazari | 132 | 200 | 130 | 900
Megnaghat | 135 | 100 | 127 | 1200 | Khulshi | 135 | 1300 | 132 | 600
Shyampur | 133 | 2100 | 121 | 1200 | Halishahar | 132 | 1930 | 126 | 800
Bhulta | 120 | 100 | 116 | 1500 | Baraulia | 130 | 1930 | 126 | 900
Madanganj | 131 | 100 | 124 | 1830 | Sikalbaha | 131 | 1830 | 127 | 800
Shitalakhya | 133 | 600 | 127 | 1200 | Dohazari | 132 | 1930 | 127 | 1000
Rahim steal | 133 | 1830 | 126 | 1200 | Cox'sbazar | 132 | 1900 | 124 | 900
Matuail | 133 | 2000 | 125 | 1200 | Chandraghona | 133 | 100 | 130 | 1000
Ghorasal | 135 | 100 | 130 | 1200 | Kaptai | 133 | 2100 | 130 | 1000
Narsinghdi | 135 | 100 | 130 | 1000 | A. Khaer Stl. | 130 | 100 | 126 | 1000
Haripur (SBU) | 134 | 2000 | 127 | 1000 | Bakulia | 130 | 1930 | 125 | 800
Ullon | 131 | 600 | 124 | 1200 | Julda | 131 | 1800 | 128 | 700
Hasnabad | 133 | 600 | 126 | 1200 | TK Chemical | 134 | 1900 | 131 | 800
Magbazar | 132 | 600 | 122 | 1200 | Modern Steel | 131 | 1930 | 127 | 100
Maniknagar | 133 | 600 | 123 | 1200 | Shahmirpur | 130 | 1800 | 126 | 1000
Bangabhaban | 133 | 600 | 123 | 1200 | Goalpara | 137 | 1400 | 124 | 300
Narinda | 133 | 600 | 123 | 1200 | Central s/s | 137 | 500 | 126 | 1900
Dhanmondi | 131 | 600 | 124 | 1200 | Noapara | 135 | 600 | 120 | 1900
Lalbag | 131 | 600 | 122 | 1200 | Jessore | 134 | 600 | 117 | 2200
Mirpur | 129 | 500 | 118 | 1200 | Jhenida | 129 | 600 | 109 | 1900
Kalyanpur | 133 | 600 | 124 | 1200 | Bottail | 134 | 600 | 125 | 1900
Gulshan | 130 | 500 | 121 | 1200 | G.K.Project | 136 | 600 | 128 | 200
Uttara | 129 | 500 | 118 | 1200 | Faridpur | 133 | 600 | 125 | 1200
Kamrangirchar | 125 | 100 | 122 | 900 | Madaripur | 130 | 1300 | 122 | 1200
Savar | 131 | 400 | 123 | 1200 | Gopalganj | 132 | 1300 | 125 | 1600
Bhasantec | 127 | 400 | 119 | 1200 | Bagerhat | 132 | 1400 | 125 | 1830
Agargaon | 129 | 300 | 121 | 1600 | Mongla | 130 | 600 | 117 | 1900
Satmosjid | 128 | 400 | 119 | 1100 | Satkhira | 135 | 600 | 126 | 2100
Tongi | 135 | 800 | 125 | 2100 | Gallamari | 138 | 600 | 126 | 1900
Kabirpur | 132 | 300 | 125 | 1500 | Magura | 127 | 600 | 105 | 1900
Basundhara | 125 | 300 | 118 | 1300 | Chuadanga | 126 | 1500 | 106 | 1900
Manikganj | 133 | 300 | 125 | 2200 | Barisal | 132 | 300 | 126 | 1900
Joydevpur | 135 | 500 | 129 | 2200 | Patuakhali | 125 | 600 | 114 | 1900
New Tongi | 132 | 400 | 123 | 1930 | Bhandaria | 130 | 600 | 115 | 1900
Tangail | 130 | 300 | 117 | 2000 | Ishurdi | 136 | 600 | 130 | 1900
Mymensing | 132 | 400 | 123 | 2100 | Natore | 134 | 900 | 130 | 300
Kishorganj | 134 | 400 | 126 | 1930 | Bogra | 134 | 600 | 127 | 2000
Netrokona | 134 | 900 | 123 | 2200 | Noagaon | 130 | 100 | 123 | 1930
Jamalpur | 128 | 800 | 116 | 2100 | Rajshahi | 135 | 1100 | 131 | 1500
Sherpur | 128 | 500 | 115 | 2300 | C.Nawabganj | 134 | 1800 | 127 | 300
Srimongal | 140 | 100 | 136 | 1500 | Amnura | 137 | 1700 | 132 | 100
Shahjibazar | 139 | 400 | 136 | 1200 | Pabna | 130 | 400 | 126 | 1930
Fenchuganj | 139 | 300 | 135 | 1200 | Shahjadpur | 138 | 600 | 135 | 900
Khulawara | 137 | 100 | 134 | 1000 | Serajganj | 134 | 600 | 128 | 1900
Sylhet | 138 | 300 | 135 | 1200 | Niyamatpur | 131 | 500 | 120 | 1930
Chatak | 136 | 400 | 134 | 1500 | Joypurhat | 135 | 600 | 123 | 2000
Comilla(s) | 130 | 900 | 126 | 1800 | Rangpur | 126 | 600 | 117 | 2000
Comilla(n) | 134 | 1300 | 131 | 900 | Lalmonirhat | 123 | 500 | 111 | 2000
Chandpur | 128 | 1000 | 122 | 2100 | Saidpur | 126 | 600 | 118 | 1200
Feni | 120 | 700 | 117 | 2300 | Purbasadipur | 126 | 600 | 118 | 1000
Chowmuhani | 125 | 800 | 120 | 1900 | Thakurgaon | 124 | 600 | 112 | 1600
Ashuganj | 134 | 100 | 134 | 200 | Palashbari | 127 | 500 | 121 | 2000
Daudkandi | 130 | 2200 | 125 | 1500 | Barapukuria | 128 | 600 | 122 | 1830
B.Baria | 136 | 800 | 133 | 1200 | Panchagar | 122 | 100 | 110 | 1000